## Slide 1
20-02-0006-0044-0000_306
306 Maywood Ave., Clendenin, WV, 25045
Clendenin
Building-scale flood visualizations of different flood frequencies and magnitudes
Building Flood Profile

## Slide 2
10% Probability of Flood in a year (10-year flood)
Building’s Ground Elevation
2.0’ (FEMA 10% / 10-Yr)

## Slide 3
4% Probability of Flood in a year (25-year flood)
6.0’ (FEMA 4% / 25-Yr)

## Slide 4
2% Probability of Flood in a year (50-year flood)
9.5’ (FEMA 2% / 50-Yr)

## Slide 5
1% Probability of Flood in a year (100-year flood)
12.3’ (FEMA 2% / 50-Yr)

## Slide 6
0.2% Probability of Flood in a year (500-year flood)
20.5’ (FEMA 0.2% / 500-Yr)

## Slide 7
9.5’ (FEMA 2% / 50-Yr)
2016 High Watermark
High Watermark
10.5’ (2016 High Water)

## Slide 8
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
2.0’ (FEMA 10% / 10-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 9
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 10
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
First Street Foundation (FSF)
FLOOD DEPTHS:
FEMA
USGS 2016 Flood High Water Mark
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 

## Slide 11
10.5’ (2016 High Water)
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 10.5
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 12
16.5’ FEMA1%+ (84% CL)
10.5’ (2016 High Water)
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
12.3’ (FEMA 1% / 100-Yr)
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 10.5
FEMA 1% (100-Yr) | 12.3
FEMA 100-Yr + FBD | 14.3
FEMA 1%+ (84% CL) | 16.5
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 13
16.5’ FEMA1%+ (84% CL)
10.5’ (2016 High Water)
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
12.3’ (FEMA 1% / 100-Yr)
20.5’ (FEMA 0.2% / 500-Yr)
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 10.5
FEMA 1% (100-Yr) | 12.3
FEMA 100-Yr + FBD | 14.3
FEMA 1%+ (84% CL) | 16.5
FEMA 0.2% (500-Yr) | 20.5
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 14
16.5’ FEMA1%+ (84% CL)
10.5’ (2016 High Water)
24.6’ (FSF 0.2% / 500-Yr)
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
12.3’ (FEMA 1% / 100-Yr)
20.5’ (FEMA 0.2% / 500-Yr)
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 10.5
FEMA 1% (100-Yr) | 12.3
FEMA 100-Yr + FBD | 14.3
FEMA 1%+ (84% CL) | 16.5
FEMA 0.2% (500-Yr) | 20.5
FSF 0.2% (500-Yr) | 24.6
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark