## Slide 1
182 SEVENTH ST, Rainelle, WV, 25962
13-13-0001-0054-0000_182
Rainelle
Building Flood Profile

## Slide 2
No Inundation
Building’s Ground Elevation
10% Probability of Flood in a year (10-year flood)

## Slide 3
0’ (FEMA 4% / 25-Yr)
4% Probability of Flood in a year (25-year flood)

## Slide 4
1.9’ (FEMA 2% / 50-Yr)
2% Probability of Flood in a year (50-year flood)

## Slide 5
3.1’ (FEMA 1% /100-Yr)
1% Probability of Flood in a year (100-year flood)

## Slide 6
9.9’ (FEMA 0.2% /500-Yr)
9.9’ (FEMA 1% +/ 84% CL)
0.2% Probability of Flood in a year (500-year flood)

## Slide 7
7.5’ (2016 High Water)
2016 High Watermark
High Watermark

## Slide 8
182 Seventh Street, Rainelle, WV, 25962
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 9
3.1’ (FEMA 1% / 100-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) Climate | 
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 10
9.9’ FEMA 1%+ (84% CL)
3.1’ (FEMA 1% / 100-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 5.1
FEMA 1%+ (84% CL) | 9.9
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) Climate | 
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 11
9.9’ FEMA 1%+ (84% CL)
7.5’ (2016 High Water)
3.1’ (FEMA 1% / 100-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 7.5
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 5.1
FEMA 1%+ (84% CL) | 9.9
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) Climate | 
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 12
9.9’ FEMA 1%+ (84% CL)
7.5’ (2016 High Water)
9.9’ (FEMA 0.2% / 500-Yr )
3.1’ (FEMA 1% / 100-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 7.5
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 5.1
FEMA 1%+ (84% CL) | 9.9
FEMA 0.2% (500-Yr) | 9.9
FSF 0.2% (500-Yr) Climate | 
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 13
9.9’ FEMA 1%+ (84% CL)
7.5’ (2016 High Water)
9.9’ (FEMA 0.2% / 500-Yr )
3.1’ (FEMA 1% / 100-Yr)
12.2’ (FSF 0.2% / 500-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 7.5
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 5.1
FEMA 1%+ (84% CL) | 9.9
FEMA 0.2% (500-Yr) | 9.9
FSF 0.2% (500-Yr) Climate | 12.2
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark