## Slide 1
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
Camden on Gauley
Building: 51-04-0003-0006-0000_81
91 RIVERSIDE DR, Camden On Gauley, WV, 26208
Building Flood Profile

## Slide 2
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
Building: 51-04-0003-0006-0000_81
1.9’ (FEMA 10% / 10-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 4
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 1.9
FEMA 4% (25-Yr) | 
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2022
USGS 2016 Flood High Water Mark

## Slide 3
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
Building: 51-04-0003-0006-0000_81
1.9’ (FEMA 10% / 10-Yr)
4.4’ (FEMA 4% / 25-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 4
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 1.9
FEMA 4% (25-Yr) | 4.4
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2022
USGS 2016 Flood High Water Mark

## Slide 4
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
6.7’ (FEMA 2% / 50-Yr)
Building: 51-04-0003-0006-0000_81
1.9’ (FEMA 10% / 10-Yr)
4.4’ (FEMA 4% / 25-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 4
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 1.9
FEMA 4% (25-Yr) | 4.4
FEMA 2% (50-Yr) | 6.7
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2022
USGS 2016 Flood High Water Mark

## Slide 5
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
8.3’ (FEMA 1% / 100-Yr)
6.7’ (FEMA 2% / 50-Yr)
Building: 51-04-0003-0006-0000_81
1.9’ (FEMA 10% / 10-Yr)
4.4’ (FEMA 4% / 25-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 4
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 1.9
FEMA 4% (25-Yr) | 4.4
FEMA 2% (50-Yr) | 6.7
2016 Flood HWM | 
FEMA 1% (100-Yr) | 8.3
FEMA 100-Yr + FBD | 10.3
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2022
USGS 2016 Flood High Water Mark

## Slide 6
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
10.7’ FEMA 1%+ (84% CL)
8.3’ (FEMA 1% / 100-Yr)
6.7’ (FEMA 2% / 50-Yr)
Building: 51-04-0003-0006-0000_81
1.9’ (FEMA 10% / 10-Yr)
4.4’ (FEMA 4% / 25-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 4
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 1.9
FEMA 4% (25-Yr) | 4.4
FEMA 2% (50-Yr) | 6.7
2016 Flood HWM | 
FEMA 1% (100-Yr) | 8.3
FEMA 100-Yr + FBD | 10.3
FEMA 1%+ (84% CL) | 10.7
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2022
USGS 2016 Flood High Water Mark

## Slide 7
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
10.7’ FEMA 1%+ (84% CL)
9.1’ (2016 High Water)
8.3’ (FEMA 1% / 100-Yr)
6.7’ (FEMA 2% / 50-Yr)
Building: 51-04-0003-0006-0000_81
1.9’ (FEMA 10% / 10-Yr)
4.4’ (FEMA 4% / 25-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 4
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 1.9
FEMA 4% (25-Yr) | 4.4
FEMA 2% (50-Yr) | 6.7
2016 Flood HWM | 9.1
FEMA 1% (100-Yr) | 8.3
FEMA 100-Yr + FBD | 10.3
FEMA 1%+ (84% CL) | 10.7
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2022
USGS 2016 Flood High Water Mark

## Slide 8
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
10.7’ FEMA 1%+ (84% CL)
9.1’ (2016 High Water)
12.7’ (FEMA 0.2% / 500-Yr )
8.3’ (FEMA 1% / 100-Yr)
6.7’ (FEMA 2% / 50-Yr)
Building: 51-04-0003-0006-0000_81
1.9’ (FEMA 10% / 10-Yr)
4.4’ (FEMA 4% / 25-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 4
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 1.9
FEMA 4% (25-Yr) | 4.4
FEMA 2% (50-Yr) | 6.7
2016 Flood HWM | 9.1
FEMA 1% (100-Yr) | 8.3
FEMA 100-Yr + FBD | 10.3
FEMA 1%+ (84% CL) | 10.7
FEMA 0.2% (500-Yr) | 12.7
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2022
USGS 2016 Flood High Water Mark

## Slide 9
81 RIVERSIDE DR, Camden On Gauley, WV, 26208
51-04-0003-0006-0000_81
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 4
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 1.9
FEMA 4% (25-Yr) | 4.4
FEMA 2% (50-Yr) | 6.7
2016 Flood HWM | 9.1
FEMA 1% (100-Yr) | 8.3
FEMA 100-Yr + FBD | 10.3
FEMA 1%+ (84% CL) | 10.7
FEMA 0.2% (500-Yr) | 12.7
FSF 0.2% (500-Yr) | 14.8
10.7’ FEMA 1%+ (84% CL)
9.1’ (2016 High Water)
12.7’ (FEMA 0.2% / 500-Yr )
8.3’ (FEMA 1% / 100-Yr)
14.8’ (FSF 0.2% / 500-Yr)
6.7’ (FEMA 2% / 50-Yr)
Building: 51-04-0003-0006-0000_81
1.9’ (FEMA 10% / 10-Yr)
4.4’ (FEMA 4% / 25-Yr)
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2022
USGS 2016 Flood High Water Mark

## Slide 10
20-02-0006-0044-0000_306
306 Maywood Ave., Clendenin, WV, 25045
Clendenin
Building-scale flood visualizations of different flood frequencies and magnitudes
Building Flood Profile

## Slide 11
10% Probability of Flood in a year (10-year flood)
Building’s Ground Elevation
2.0’ (FEMA 10% / 10-Yr)

## Slide 12
4% Probability of Flood in a year (25-year flood)
6.0’ (FEMA 4% / 25-Yr)

## Slide 13
2% Probability of Flood in a year (50-year flood)
9.5’ (FEMA 2% / 50-Yr)

## Slide 14
1% Probability of Flood in a year (100-year flood)
12.3’ (FEMA 2% / 50-Yr)

## Slide 15
0.2% Probability of Flood in a year (500-year flood)
20.5’ (FEMA 0.2% / 500-Yr)

## Slide 16
9.5’ (FEMA 2% / 50-Yr)
2016 High Watermark
High Watermark
10.5’ (2016 High Water)

## Slide 17
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
2.0’ (FEMA 10% / 10-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 18
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 19
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
First Street Foundation (FSF)
FLOOD DEPTHS:
FEMA
USGS 2016 Flood High Water Mark
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 

## Slide 20
10.5’ (2016 High Water)
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 10.5
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 21
16.5’ FEMA1%+ (84% CL)
10.5’ (2016 High Water)
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
12.3’ (FEMA 1% / 100-Yr)
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 10.5
FEMA 1% (100-Yr) | 12.3
FEMA 100-Yr + FBD | 14.3
FEMA 1%+ (84% CL) | 16.5
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 22
16.5’ FEMA1%+ (84% CL)
10.5’ (2016 High Water)
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
12.3’ (FEMA 1% / 100-Yr)
20.5’ (FEMA 0.2% / 500-Yr)
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 10.5
FEMA 1% (100-Yr) | 12.3
FEMA 100-Yr + FBD | 14.3
FEMA 1%+ (84% CL) | 16.5
FEMA 0.2% (500-Yr) | 20.5
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 23
16.5’ FEMA1%+ (84% CL)
10.5’ (2016 High Water)
24.6’ (FSF 0.2% / 500-Yr)
306 Maywood Ave., Clendenin, WV, 25045
Building 20-02-0006-0044-0000_306
12.3’ (FEMA 1% / 100-Yr)
20.5’ (FEMA 0.2% / 500-Yr)
2.0’ (FEMA 10% / 10-Yr)
6.0’ (FEMA 4% / 25-Yr)
9.5’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 12.0
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 2.0
FEMA 4% (25-Yr) | 6.0
FEMA 2% (50-Yr) | 9.5
2016 Flood HWM | 10.5
FEMA 1% (100-Yr) | 12.3
FEMA 100-Yr + FBD | 14.3
FEMA 1%+ (84% CL) | 16.5
FEMA 0.2% (500-Yr) | 20.5
FSF 0.2% (500-Yr) | 24.6
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 24
Inundated Area in one-hundred-year flood
Flood Source: Copperas Mine Fork
Watershed: Upper Guyandotte
Copperas Mud Fork
Mud Fork

## Slide 25
23-03-0066-0074-0000_50
50 HOLDEN RD, MOUNT GAY, WV, 25637
Building General Identification
Pre-FIRM

## Slide 26
Flood Profile
12.6’ (FEMA 1% / 100-Yr)
Flood Profile
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 12.6
FEMA 100-Yr + FBD | 14.6
FEMA 0.2% (500-Yr) | 
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 27
Flood Profile
12.6’ (FEMA 1% / 100-Yr)
Flood Profile
15.6’ (FEMA 0.2% / 500-Yr)
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 12.6
FEMA 100-Yr + FBD | 14.6
FEMA 0.2% (500-Yr) | 15.6
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 28
Inundated Area in one-hundred-year flood
Flood Source: Island Creek
Watershed: Upper Guyandotte
Island Creek
Island Creek

## Slide 29
Building General Identification
23-03-0029-0029-0000_3456
3456 JERRY WEST HWY TRLR, ROSSMORE, WV, 25636
Post-FIRM

## Slide 30
Flood Profile
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 7.2
FEMA 100-Yr + FBD | 9.2
FEMA 0.2% (500-Yr) | 
7.2’ (FEMA 1% / 100-Yr)
Flood Profile
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 31
Flood Profile
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 7.2
FEMA 100-Yr + FBD | 9.2
FEMA 0.2% (500-Yr) | 9.2
7.2’ (FEMA 1% / 100-Yr)
9.2’ (FEMA 0.2% / 500-Yr)
Flood Profile
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 32
Inundated Area in one-hundred-year flood
Island Creek
Island Creek
Flood Source: Island Creek
Watershed: Upper Guyandotte

## Slide 33
23-03-0048-0113-0000_5312
5312 JERRY WEST HWY, SWITZER, WV, 25647
Building General Identification
Post-FIRM

## Slide 34
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 9.4
FEMA 100-Yr + FBD | 11.4
FEMA 0.2% (500-Yr) | 
Flood Profile
9.4’ (FEMA 1% / 100-Yr)
Flood Profile
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 35
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 9.4
FEMA 100-Yr + FBD | 11.4
FEMA 0.2% (500-Yr) | 12.7
Flood Profile
9.4’ (FEMA 1% / 100-Yr)
12.2’ (FEMA 0.2% / 500-Yr)
Flood Profile
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 36
Inundated Area in one-hundred-year flood
Flood Source: Buffalo Creek
Watershed: Upper Guyandotte
Buffalo Creek
Buffalo Creek

## Slide 37
8968 BUFFALO CREEK RD, LORADO, WV, 25630
Building: 23-08-0009-0051-0000_8968
Building General Identification

## Slide 38
Flood Profile
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 13.1
FEMA 100-Yr + FBD | 15.1
FEMA 0.2% (500-Yr) | 
13.1’ (FEMA 1% / 100-Yr)
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 39
Flood Profile
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 13.1
FEMA 100-Yr + FBD | 15.1
FEMA 0.2% (500-Yr) | 16.1
13.1’ (FEMA 1% / 100-Yr)
16.1’ (FEMA 0.2% / 500-Yr)
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 40
Inundated Area in one-hundred-year flood
Flood Source: Buffalo Creek
Watershed: Upper Guyandotte
Buffalo Creek

## Slide 41
Building: 23-08-0009-0028-0000_8758
Building General Identification
8758 BUFFALO CREEK RD, LORADO, WV, 25630
Pre-FIRM

## Slide 42
Island Creek
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 13.9
FEMA 100-Yr + FBD | 15.9
FEMA 0.2% (500-Yr) | 
13.9’ (FEMA 1% / 100-Yr)
Flood Profile
Flood Profile
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 43
Island Creek
 | HEIGHT (ft.)
BUILDING | 
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 1% (100-Yr) | 13.9
FEMA 100-Yr + FBD | 15.9
FEMA 0.2% (500-Yr) | 16.7
13.9’ (FEMA 1% / 100-Yr)
16.7’ (FEMA 0.2% / 500-Yr)
Flood Profile
Flood Profile
FLOOD DEPTHS:
FEMA, Effective 2008

## Slide 44
309 8th St, Marlinton, WV, 24954
7’ (1985 High Water Mark)
8.8’ (FEMA DRAFT NFHL 0.2% / 500-Yr )
3.6’ (FEMA 1% / 100-Yr)
9.4’ (FSF 0.2% / 500-Yr)
0.4’ (FEMA 10% / 10-Yr)
2.7’ (FEMA 2% / 50-Yr)
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA Draft NFHL (2023)
1985 Flood High Water Mark
Ideally, the Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 1985 flood plus freeboard.
Building: 38-08-0003-0023-0000
FEMA Effective (2010)
4.8’ (FEMA DRAFT NFHL 1% / 100-Yr)
Flood Intervals | Height (ft.) | Source
FEMA 10% / 10-Yr | 0.4 | Flood Profile (Effective 2010)
FEMA 2% / 50-yr | 2.7 | Flood Profile (Effective 2010)
FEMA 1% / 100-yr | 3.6 | Flood Profile (Effective 2010)
FEMA 100-yr + 2.0 Ft. Freeboard (DFE) | 5.6 | Design flood elevation (DFE)
High Water Mark (1985 Flood) | 7.0 | Picture
FEMA Draft NFHL 100-yr | 4.8 | WV Flood Tool (Draft 2023)
FEMA 500-yr | 8.8 | WV Flood Tool (Draft 2023)
FSF 500-yr | 9.4 | FSF Flood Depth (2022)
1985 Flood High Water Mark
1900 Commercial Structure
Marlinton
Building Flood Profile

## Slide 45
182 SEVENTH ST, Rainelle, WV, 25962
13-13-0001-0054-0000_182
Rainelle
Building Flood Profile

## Slide 46
No Inundation
Building’s Ground Elevation
10% Probability of Flood in a year (10-year flood)

## Slide 47
0’ (FEMA 4% / 25-Yr)
4% Probability of Flood in a year (25-year flood)

## Slide 48
1.9’ (FEMA 2% / 50-Yr)
2% Probability of Flood in a year (50-year flood)

## Slide 49
3.1’ (FEMA 1% /100-Yr)
1% Probability of Flood in a year (100-year flood)

## Slide 50
9.9’ (FEMA 0.2% /500-Yr)
9.9’ (FEMA 1% +/ 84% CL)
0.2% Probability of Flood in a year (500-year flood)

## Slide 51
7.5’ (2016 High Water)
2016 High Watermark
High Watermark

## Slide 52
182 Seventh Street, Rainelle, WV, 25962
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 53
3.1’ (FEMA 1% / 100-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) Climate | 
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 54
9.9’ FEMA 1%+ (84% CL)
3.1’ (FEMA 1% / 100-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 5.1
FEMA 1%+ (84% CL) | 9.9
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) Climate | 
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 55
9.9’ FEMA 1%+ (84% CL)
7.5’ (2016 High Water)
3.1’ (FEMA 1% / 100-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 7.5
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 5.1
FEMA 1%+ (84% CL) | 9.9
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) Climate | 
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 56
9.9’ FEMA 1%+ (84% CL)
7.5’ (2016 High Water)
9.9’ (FEMA 0.2% / 500-Yr )
3.1’ (FEMA 1% / 100-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 7.5
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 5.1
FEMA 1%+ (84% CL) | 9.9
FEMA 0.2% (500-Yr) | 9.9
FSF 0.2% (500-Yr) Climate | 
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 57
9.9’ FEMA 1%+ (84% CL)
7.5’ (2016 High Water)
9.9’ (FEMA 0.2% / 500-Yr )
3.1’ (FEMA 1% / 100-Yr)
12.2’ (FSF 0.2% / 500-Yr)
1.9’ (FEMA 10% / 10-Yr)
Building: 13-13-0001-0054-0000_182
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 9
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 1.9
2016 Flood HWM | 7.5
FEMA 1% (100-Yr) | 3.1
FEMA 100-Yr + FBD | 5.1
FEMA 1%+ (84% CL) | 9.9
FEMA 0.2% (500-Yr) | 9.9
FSF 0.2% (500-Yr) Climate | 12.2
182 Seventh Street, Rainelle, WV, 25962
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 58
34-06-0011-0090-0000_113
113 Valley Ave, Richwood, WV
Richwood
Building Flood Profile

## Slide 59
2% Probability of Flood in a year (50-year flood)
2.8’ (FEMA 2% / 50-Yr)
Building’s Ground Elevation

## Slide 60
1% Probability of Flood in a year (100-year flood)
3.5’ (FEMA 1% / 100-Yr)

## Slide 61
0.2% Probability of Flood in a year (500-year flood)
8.3’ (FEMA 0.2% / 500-Yr)

## Slide 62
Building’s Ground Elevation
2016 High Watermark
High Watermark
1.0’ (2016 High Water)

## Slide 63
1.0’ (2016 High Water)
Building 34-06-0011-0090-0000_113
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
Building 34-06-0011-0090-0000_113
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
113 Valley Ave, Richwood, WV
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2021
USGS 2016 Flood High Water Mark

## Slide 64
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
2.8’ (FEMA 2% / 50-Yr)
1.0’ (2016 High Water)
Building 34-06-0011-0090-0000_113
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 2.8
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
113 Valley Ave, Richwood, WV
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2021
USGS 2016 Flood High Water Mark

## Slide 65
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
3.5’ (FEMA 1% / 100-Yr)
2.8’ (FEMA 2% / 50-Yr)
1.0’ (2016 High Water)
9.0’ FEMA1%+ (84% CL)
Building 34-06-0011-0090-0000_113
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 2.8
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 3.5
FEMA 100-Yr + FBD | 5.5
FEMA 1%+ (84% CL) | 9.0
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
113 Valley Ave, Richwood, WV
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2021
USGS 2016 Flood High Water Mark

## Slide 66
3.5’ (FEMA 1% / 100-Yr)
2.8’ (FEMA 2% / 50-Yr)
1.0’ (2016 High Water)
Building 34-06-0011-0090-0000_113
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
8.3’ (FEMA 0.2% / 500-Yr)
9.0’ FEMA1%+ (84% CL)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 2.8
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 3.5
FEMA 100-Yr + FBD | 5.5
FEMA 1%+ (84% CL) | 9.0
FEMA 0.2% (500-Yr) | 8.3
FSF 0.2% (500-Yr) | 
113 Valley Ave, Richwood, WV
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2021
USGS 2016 Flood High Water Mark

## Slide 67
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 2.8
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 3.5
FEMA 100-Yr + FBD | 5.5
FEMA 1%+ (84% CL) | 9.0
FEMA 0.2% (500-Yr) | 8.3
FSF 0.2% (500-Yr) | 6.7
8.3’ (FEMA 0.2% / 500-Yr)
113 Valley Ave, Richwood, WV
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
3.5’ (FEMA 1% / 100-Yr)
2.8’ (FEMA 2% / 50-Yr)
1.0’ (2016 High Water)
9.0’ FEMA1%+ (84% CL)
6.7’ (FSG 0.2% / 500-Yr)
Building 34-06-0011-0090-0000_113
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2021
USGS 2016 Flood High Water Mark

## Slide 68
FLOOD DEPTHS:
Building: 35-10-0W43-0134-0000_40
40 VIRGINIA ST, Wheeling, WV, 26003
Wheeling
Flood Intervals | HEIGHT (ft.) | Source
FEMA 10% / 10-Yr | NA | Not in by FEMA 10yr flood boundary
FEMA 4% / 25 yr | NA | Not in by FEMA 25yr flood boundary
FEMA 2% / 50 yr | 4.1 | Flood Profile
FEMA 1% / 100 yr (2023 BFE) | 7.1 | Flood Profile
FEMA 100 yr + 2.0 Ft. Freeboard (DFE) | 9.1 | Design flood elevation (DFE)
FEMA 0.2% / 500 yr | 10.1 | Flood Profile
FSF 500 yr | 35.7 | 
4.1’ (FEMA 2% / 50 yr)
7.1’ (FEMA 1% / 100 yr)
10.1’ (FEMA 0.2% / 500 yr)
35.7’ (FSF 2% / 500 yr)
Flood Depth (ft) |  |  |  |  |  |  |  |  | 
FEMA |  |  |  |  |  |  |  | FSF | 
Flood Depth in Ft (Current Study) |  |  |  |  | Flood Depth in Ft (Previous Study) |  |  |  | 
Draft/Effective Date | 50 year (2%) | 100 year (1%) | 100 year Plus(1%+) | 500 year (0.2%) | Effective Date | 100 year (1%) | 500 year (0.2%) | 100 year (1%) | 500 year (0.2%)
2006 | 4.1 | 7.1 | - | 10.1 | 1992 | BFE: 659 (5.9 ft) |  | 22.3 | 35.7
FEMA, Effective 2006
First Street Foundation (FSF, 2022)
Building Flood Profile

## Slide 69
Lowest Adjacent Grade (LAG) = 649.5 feet (estimate from WV Flood Tool). Estimate first floor height to be about 9 feet based on steps and blocks.
1936 HWM = 607.3 ft (gauge height = 0) + 55.2 ft = 662.5 ft.
1936 Flood Depth = LAG 662.5 feet – 649.5 = 13 feet. Estimate four feet of water in structure for 1936 flood.
High Water Mark from 1936 Flood
Wheeling

## Slide 70
White Sulphur Springs
Building Flood Profile

## Slide 71
Building Flood Profile

## Slide 72
13-17-0009-0026-0000_138
138 Mill Street, White Sulphur Springs, WV, 24986
Building Flood Profile

## Slide 73
10% Probability of Flood in a year (10-year flood)
Building’s Ground Elevation
1.7’ (FEMA 10% / 10-Yr)

## Slide 74
4% Probability of Flood in a year (25-year flood)
2.0’ (FEMA 4% / 25-Yr)

## Slide 75
2% Probability of Flood in a year (50-year flood)
3.4’ (FEMA 2% / 50-Yr)

## Slide 76
1% Probability of Flood in a year (100-year flood)
5.4’ (FEMA 1% / 100-Yr)

## Slide 77
0.2% Probability of Flood in a year (500-year flood)
7.2’ (FEMA 0.2% / 500-Yr)

## Slide 78
2016 High Watermark
6.5’ (2016 High Water)
High Watermark

## Slide 79
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
Building 13-17-0009-0026-0000_138
0.7’ (FEMA 10% / 10-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 80
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
Building 13-17-0009-0026-0000_138
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 81
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
Building 13-17-0009-0026-0000_138
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 82
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
6.4’ FEMA 1%+ (84% CL)
Building 13-17-0009-0026-0000_138
5.4’ (FEMA 1% / 100-Yr)
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 
FEMA 1% (100-Yr) | 5.4
FEMA 100-Yr + FBD | 7.4
FEMA 1%+ (84% CL) | 6.4
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 83
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
6.4’ FEMA 1%+ (84% CL)
6.5’ (2016 High Water)
Building 13-17-0009-0026-0000_138
5.4’ (FEMA 1% / 100-Yr)
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 6.5
FEMA 1% (100-Yr) | 5.4
FEMA 100-Yr + FBD | 7.4
FEMA 1%+ (84% CL) | 6.4
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 84
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
6.4’ FEMA 1%+ (84% CL)
6.5’ (2016 High Water)
7.2’ (FEMA 0.2% / 500-Yr )
Building 13-17-0009-0026-0000_138
5.4’ (FEMA 1% / 100-Yr)
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 6.5
FEMA 1% (100-Yr) | 5.4
FEMA 100-Yr + FBD | 7.4
FEMA 1%+ (84% CL) | 6.4
FEMA 0.2% (500-Yr) | 7.2
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 85
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
6.4’ FEMA 1%+ (84% CL)
6.5’ (2016 High Water)
7.2’ (FEMA 0.2% / 500-Yr )
Building 13-17-0009-0026-0000_138
5.4’ (FEMA 1% / 100-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 6.5
FEMA 1% (100-Yr) | 5.4
FEMA 100-Yr + FBD | 7.4
FEMA 1%+ (84% CL) | 6.4
FEMA 0.2% (500-Yr) | 7.2
FSF 0.2% (500-Yr) | 7.4
7.4’ (FSF 0.2% / 500-Yr)
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark