## Slide 1
White Sulphur Springs
Building Flood Profile

## Slide 2
Building Flood Profile

## Slide 3
13-17-0009-0026-0000_138
138 Mill Street, White Sulphur Springs, WV, 24986
Building Flood Profile

## Slide 4
10% Probability of Flood in a year (10-year flood)
Building’s Ground Elevation
1.7’ (FEMA 10% / 10-Yr)

## Slide 5
4% Probability of Flood in a year (25-year flood)
2.0’ (FEMA 4% / 25-Yr)

## Slide 6
2% Probability of Flood in a year (50-year flood)
3.4’ (FEMA 2% / 50-Yr)

## Slide 7
1% Probability of Flood in a year (100-year flood)
5.4’ (FEMA 1% / 100-Yr)

## Slide 8
0.2% Probability of Flood in a year (500-year flood)
7.2’ (FEMA 0.2% / 500-Yr)

## Slide 9
2016 High Watermark
6.5’ (2016 High Water)
High Watermark

## Slide 10
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
Building 13-17-0009-0026-0000_138
0.7’ (FEMA 10% / 10-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 11
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
Building 13-17-0009-0026-0000_138
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 12
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
Building 13-17-0009-0026-0000_138
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 13
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
6.4’ FEMA 1%+ (84% CL)
Building 13-17-0009-0026-0000_138
5.4’ (FEMA 1% / 100-Yr)
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 
FEMA 1% (100-Yr) | 5.4
FEMA 100-Yr + FBD | 7.4
FEMA 1%+ (84% CL) | 6.4
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 14
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
6.4’ FEMA 1%+ (84% CL)
6.5’ (2016 High Water)
Building 13-17-0009-0026-0000_138
5.4’ (FEMA 1% / 100-Yr)
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 6.5
FEMA 1% (100-Yr) | 5.4
FEMA 100-Yr + FBD | 7.4
FEMA 1%+ (84% CL) | 6.4
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 15
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
6.4’ FEMA 1%+ (84% CL)
6.5’ (2016 High Water)
7.2’ (FEMA 0.2% / 500-Yr )
Building 13-17-0009-0026-0000_138
5.4’ (FEMA 1% / 100-Yr)
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 6.5
FEMA 1% (100-Yr) | 5.4
FEMA 100-Yr + FBD | 7.4
FEMA 1%+ (84% CL) | 6.4
FEMA 0.2% (500-Yr) | 7.2
FSF 0.2% (500-Yr) | 
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark

## Slide 16
182 Seventh Street, Rainelle, WV, 25962
Building: 13-13-0001-0054-0000_182
6.4’ FEMA 1%+ (84% CL)
6.5’ (2016 High Water)
7.2’ (FEMA 0.2% / 500-Yr )
Building 13-17-0009-0026-0000_138
5.4’ (FEMA 1% / 100-Yr)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 6.4
Freeboard (FBD) | 2.0
FLOOD DEPTH | 
FEMA 10% (10-Yr) | 0.7
FEMA 4% (25-Yr) | 2.0
FEMA 2% (50-Yr) | 3.4
2016 Flood HWM | 6.5
FEMA 1% (100-Yr) | 5.4
FEMA 100-Yr + FBD | 7.4
FEMA 1%+ (84% CL) | 6.4
FEMA 0.2% (500-Yr) | 7.2
FSF 0.2% (500-Yr) | 7.4
7.4’ (FSF 0.2% / 500-Yr)
2.0’ (FEMA 4% / 25-Yr)
0.7’ (FEMA 10% / 10-Yr)
3.4’ (FEMA 2% / 50-Yr)
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
First Street Foundation (FSF, 2022)
FLOOD DEPTHS:
FEMA, Effective 2023
USGS 2016 Flood High Water Mark