## Slide 1
34-06-0011-0090-0000_113
113 Valley Ave, Richwood, WV
Building Flood Profile
Richwood

## Slide 2
2% Probability of Flood in a year (50-year flood)
2.8’ (FEMA 2% / 50-Yr)
Building’s Ground Elevation

## Slide 3
1% Probability of Flood in a year (100-year flood)
3.5’ (FEMA 1% / 100-Yr)

## Slide 4
0.2% Probability of Flood in a year (500-year flood)
8.3’ (FEMA 0.2% / 500-Yr)

## Slide 5
Building’s Ground Elevation
2016 High Watermark
High Watermark
1.0’ (2016 High Water)

## Slide 6
First Street Foundation (FSF)
FLOOD DEPTHS:
FEMA
USGS 2016 Flood High Water Mark
1.0’ (2016 High Water)
Building 34-06-0011-0090-0000_113
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
Building 34-06-0011-0090-0000_113
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
113 Valley Ave, Richwood, WV

## Slide 7
First Street Foundation (FSF)
FLOOD DEPTHS:
FEMA
USGS 2016 Flood High Water Mark
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
2.8’ (FEMA 2% / 50-Yr)
1.0’ (2016 High Water)
Building 34-06-0011-0090-0000_113
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 2.8
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 
FEMA 100-Yr + FBD | 
FEMA 1%+ (84% CL) | 
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
113 Valley Ave, Richwood, WV

## Slide 8
First Street Foundation (FSF)
FLOOD DEPTHS:
FEMA
USGS 2016 Flood High Water Mark
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
3.5’ (FEMA 1% / 100-Yr)
2.8’ (FEMA 2% / 50-Yr)
1.0’ (2016 High Water)
9.0’ FEMA1%+ (84% CL)
Building 34-06-0011-0090-0000_113
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 2.8
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 3.5
FEMA 100-Yr + FBD | 5.5
FEMA 1%+ (84% CL) | 9.0
FEMA 0.2% (500-Yr) | 
FSF 0.2% (500-Yr) | 
113 Valley Ave, Richwood, WV

## Slide 9
First Street Foundation (FSF)
FLOOD DEPTHS:
FEMA
USGS 2016 Flood High Water Mark
3.5’ (FEMA 1% / 100-Yr)
2.8’ (FEMA 2% / 50-Yr)
1.0’ (2016 High Water)
Building 34-06-0011-0090-0000_113
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
8.3’ (FEMA 0.2% / 500-Yr)
9.0’ FEMA1%+ (84% CL)
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 2.8
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 3.5
FEMA 100-Yr + FBD | 5.5
FEMA 1%+ (84% CL) | 9.0
FEMA 0.2% (500-Yr) | 8.3
FSF 0.2% (500-Yr) | 
113 Valley Ave, Richwood, WV

## Slide 10
First Street Foundation (FSF)
FLOOD DEPTHS:
FEMA
USGS 2016 Flood High Water Mark
 | HEIGHT (ft.)
BUILDING | 
First Floor Height | 8
Freeboard (FBD) | 2
FLOOD DEPTH | 
FEMA 10% (10-Yr) | NA
FEMA 4% (25-Yr) | NA
FEMA 2% (50-Yr) | 2.8
2016 Flood HWM | 1.0
FEMA 1% (100-Yr) | 3.5
FEMA 100-Yr + FBD | 5.5
FEMA 1%+ (84% CL) | 9.0
FEMA 0.2% (500-Yr) | 8.3
FSF 0.2% (500-Yr) | 6.7
8.3’ (FEMA 0.2% / 500-Yr)
113 Valley Ave, Richwood, WV
The Design Flood Elevation (DFE) should be the BFE plus 2 feet of freeboard. The DFE should also be above the high-water marks of the 2016 flood plus freeboard.
3.5’ (FEMA 1% / 100-Yr)
2.8’ (FEMA 2% / 50-Yr)
1.0’ (2016 High Water)
9.0’ FEMA1%+ (84% CL)
6.7’ (FSG 0.2% / 500-Yr)
Building 34-06-0011-0090-0000_113