## Slide 2
Required to rate post-FIRM and some pre-FIRM buildings
Determine compliance with floodplain management ordinance
Support LOMA/LOMR-F
Prerequisite for the CRS

## Slide 3
Current Version: FEMA Form 086-0-33 (7/15)
Mandatory for use after ___________
Good until the 11/30/2018 expiration date
Download from FEMA.gov
PDF and PDF fillable versions

## Slide 5
Checklist in the 2013 Manual still good
Manual Pages 310-7 – 8

## Slide 7
Not needed for local permits or CRS
(But still a good idea)

## Slide 8
Manual Page 310-7

## Slide 9
Elevation Certificate Instructions Page 13
Diagram 1A = slab-on-grade

## Slide 10
Elevation Certificate Instructions Page 13
Diagram 1B = raised slab or foundation wall with fill

## Slide 11
Diagram 2A = full basement
Elevation Certificate Instructions Page 13

## Slide 12
Diagram 2B = full basement, door below ground level
Elevation Certificate Instructions Page 13

## Slide 13
Diagram 2B = full basement, door below ground level
Elevation Certificate Instructions Page 13

## Slide 14
Elevation Certificate Instructions Page 14
Diagrams 3 & 4 = Split levels

## Slide 15
Elevation Certificate Instructions Page 14
Diagrams 5 & 6 = Elevated on piers, posts, piles, etc.

## Slide 16
Elevation Certificate Instructions Page 15
Diagram 7 =
Elevated on
full story
foundation
walls

## Slide 17
Elevation Certificate Instructions Page 15
Diagrams 8 & 9 = Elevated on crawlspaces

## Slide 18
Elevation Certificate Instructions Page 15
Diagrams 8 & 9 = Elevated on crawlspaces
Diagram 9 = Compliant, below grade crawlspace
  < 5’ high,
  < 2’ below grade
If below grade crawlspace
  > 5’ high or
  > 2’ below grade
→ basement

## Slide 19
Diagram Number Assignment

## Slide 20
Diagram Number Assignment
We’ll show a photo of a building
Each building is compliant
You see the whole building – don’t invent things on the other side of the building
Determine the diagram number for each building
Raise the appropriate Diagram number card
If a table raises >1 card, it is disqualified

## Slide 21
What diagram?

## Slide 22
What diagram?

## Slide 23
What diagram?

## Slide 24
What diagram?

## Slide 25
What diagram?

## Slide 27
What diagram?

## Slide 28
What diagram?

## Slide 29
What diagram?

## Slide 30
What diagram?

## Slide 31
What diagram?

## Slide 32
Measure from exterior or interior grade, whichever is higher
Elevation Certificate Instructions Page 8
1,405
10
1,680

## Slide 33
1,405
10
1,680
Elevation Certificate Instructions Page 8
A9 Attached garage:
Separate from the rest of the building
No floors above it

## Slide 34
Is this an attached garage?

## Slide 35
Is this an attached garage?

## Slide 36
Is this an attached garage?

## Slide 37
1,405
10
1,680
N/A
N/A
N/A
Elevation Certificate Instructions Page 8

## Slide 38
1,405
10
1,680
If “yes,” record the actual area of the openings
and attach the engineer’s certificate
or the ICC Evaluation Service report
N/A
N/A
N/A
Elevation Certificate Instructions Page 8
X
X

## Slide 40
B4. For maps in a county-wide format, the sixth character of the “Map Number” is the letter “C” followed by a four-digit map number.
For maps not in a county-wide format, enter the “Community Panel Number” shown on the FIRM.
Complete the Elevation Certificate on the basis of the FIRM in effect at the time of the certification.
Elevation Certificate Instructions Page 9

## Slide 41: FEMA Elevation Certificate

## Slide 42
B5. Suffix comes after the panel number
Indicates how many times the panel has been revised
B8. Use the zone for the building
If building is in > 1 zone, list all the zones
B9. Except in Zones AO and A, use the BFE on the FIRM, not a higher local regulatory flood elevation
Complete the Elevation Certificate on the basis of the FIRM in effect at the time of the certification.
Elevation Certificate Instructions Page 9

## Slide 43
Complete the Elevation Certificate on the basis of the FIRM in effect at the time of the certification.
Elevation Certificate Instructions Page 9

## Slide 44
Elevation Certificate Instructions Pages 10 – 11

## Slide 45
Every time
If >1 floor
V Zones
If garage
Every time
Every time
Every time
Elevation Certificate Instructions Pages 10 – 11
Section C2.a) – h)
e) Describe the machinery or equipment in Section D’s comments

## Slide 46
Every time
If >1 floor
V Zones
If garage
Every time
Every time
Every time
Not on checklist
Elevation Certificate Instructions Pages 10 – 11
Section C2.a) – h)
Only needed for LOMAs and LOMR-Fs
Not on the CRS EC checklist

## Slide 47
Every time
If >1 floor
V Zones
If garage
Every time
Every time
Every time
Not on checklist
Elevation Certificate Instructions Pages 10 – 11
Section C2 Assignment

## Slide 48
House #1 – in the AE Zone
477.6 476.2 478.6 478.1 478.0
(grade) (A/C in back yard) (first floor) (garage floor) (grade)

## Slide 49
House #1 – in the AE Zone
477.6 476.2 478.6 478.1 478.0
(grade) (A/C in back yard) (first floor) (garage floor) (grade)
478.6 x
N/A
N/A
478.1 x
476.2 x
477.6 x
478.0 x
N/A
Diagram No.?
1A

## Slide 50
House #2 – in the VE Zone
18.7
17.5
7.9
(bottom
of stairs)
8.1 (slab)
8.1
(grade)
7.8
(grade)
18.7
17.5

## Slide 51
House #2 – in the VE Zone
18.7
17.5
7.9
(bottom
of stairs)
8.1 (slab)
8.1
(grade)
7.8
(grade)
18.7
17.5
Diagram No.?
5
18.7 x
N/A
17.5 x
N/A
18.7 x
7.8 x
8.1 x
7.9 x

## Slide 52
House #3 – in the AE Zone
Garage floor: 317.0
Grade:
316.1
Vent
Crawlspace floor: 315.6
Furnace and water heater are on a platform 2.0 feet above the garage floor
Vents
Front door threshold: 318.6
Driveway: 316.9

## Slide 53
Crawlspace floor: 315.6
Furnace and water heater are on a platform 2.0 feet above the garage floor
House #3 – in the AE Zone
Garage floor: 317.0
Grade:
316.1
Vent
Vents
Front door threshold: 318.6
Driveway: 316.9
9
315.6 x
318.6 x
N/A
317.0 x
319.0 x
316.1 x
316.9 x
N/A
Diagram No.?

## Slide 54
Elevation Certificate Instructions Page 11

## Slide 55
Elevation Certificate Instructions Page 11
Can be completed by property owner or permit official

## Slide 56
Elevation Certificate Instructions Page 11

## Slide 57
Elevation Certificate Instructions Pages 11 ‒ 12

## Slide 58
Helpful Hints
Never assume the EC was filled out correctly because it has the professional surveyor's seal on it
Establish a review process that determines if the EC is complete and correct, preferably done as part of the final site inspection
Make a complete and correct EC a condition for the certificate of occupancy
Fill out as much of the EC as you can at the time of the permit application (i.e., Sections A and B)
FEMA Regions conduct workshops on the EC

## Slide 59
Questions?